Northern Territory of Australia

ELECTRICITY INDUSTRY PERFORMANCE CODE

Standards of Service and Guaranteed Service Levels

July 2017

19 The Mall DARWIN NT 0800

Postal Address GPO Box 915 DARWIN NT 0801

Email: utilities.commission@nt.gov.au

Website: www.utilicom.nt.gov.au

TABLE OF CONTENTS

Chapter 1	3

1	Introduction	3

2	Amending this Code	5

3	Target Standards	5

4	Guaranteed Service Level Scheme	7

5	Reporting	10

6	Data Quality	12

7	Data Segmentation	13

Chapter 2	15

1	Schedule A – Guaranteed Service Level Scheme	15

2	Schedule B – Generation Services Performance Indicators	17

3	Schedule C – Network Services Performance Indicators 	23

4	Schedule D – Retail Services Performance Indicators	28

5	Schedule E – Transitional Provisions	31

6	Schedule F – Responsibility Statement [to be updated once other changes are finalised]	32

7	Schedule G – Definitions and Interpretation [to be updated once other changes are finalised]	33

# Chapter 1

# Introduction

## Authority

### This Electricity Industry Performance Code (Code) is made by the Northern Territory Utilities Commission (Commission) under section 24 of the Act.

### The Commission is authorised to make a Code relating to standards of service in the electricity supply industry and supply of electricity in the electricity supply industry under section 24 of the Act and regulation 2B of the Utilities Commission Regulations.

## Scope

### Without limiting clause 1.1.2, this Code may deal with any one or more of the following:

#### standards of service by licensed entities in the electricity supply industry;

#### performance measures for standards of service by licensed entities in the electricity supply industry;

#### payments to certain customers if specified standards of service are not met.

### This Code applies to electricity entities in the Northern Territory.

### To avoid doubt, this Code will only apply to an electricity entity to the extent that it provides generation services, network services, or retail services in the regulated network.

## Object

### The object of this Code is to ensure electricity consumers receive appropriate levels of service by:

#### publically reporting on standards of service by licensed entities;

#### promoting improvement in and ensuring minimum levels of standards of service (targets); and

#### establishing a guaranteed service level scheme (that is, payments to certain customers if specified standards of service are not met).

## Matters the Commission will regard in making a decision

### In making this Code the Commission had regard to clause 1.4.3.

### In making a decision to vary or revoke any part of the Code, or in approving the proposed target standards for network entities, or in making any other decision under this Code the Commission will have regard to clause 1.4.3.

### The Commission has or will have regard to the object of the Code and:

#### will seek to promote and achieve the object of the Act;

#### will seek to promote and achieve the object of the ERA;

#### have regard to matters listed in section 6(2) of the Act; and

#### have regard to good electricity industry practice.

## Date of commencement

### This Code takes effect on and from the commencement date.

## Interpretation

### The Interpretation Act applies to the interpretation of this Code.

### Unless the contrary intention is apparent:

#### a reference to a clause or schedule is a reference to a clause or schedule in this Code;

#### a reference in this Code to a document or a provision of a document includes an amendment or supplement to, or replacement or novation of, the document or provision;

#### words appearing in bold and italics like this are defined in schedule 7 of this Code; and

#### without limiting clause 1.6.1:

##### the word ‘may’ in conferring a power will be interpreted to imply a power may be exercised or not, at discretion;

##### the word ‘must’ in conferring a function will be interpreted to mean the function so conferred must be performed.

## Preservation of other obligations

### Nothing in this Code will derogate from any obligation imposed upon an electricity entity under an applicable regulatory instrument.

## Guidelines

### The Commission may publish guidelines relating to (among other things) the application or interpretation of matters arising under this Code including, but not limited to:

#### administrative procedures and arrangements the Commission intends to adopt when administering the Code; and

#### the Commission’s interpretation of any clauses or terms used in this Code.

### In publishing a guideline under clause 1.8.1, the Commission must:

#### give notice to all electricity entities; and

#### publish the guideline on the Commission’s website.

### A guideline takes effect from the date of publication or from such later date as the Commission specifies in the guideline.

## Directions

### The Commission may issue a direction to an electricity entity regarding any matter related to this Code. An electricity entity must comply with any direction issued (and notified in writing) by the Commission to the electricity entity from time to time.

### Without limiting clause 1.9.1, the Commission may issue a direction requiring the electricity entity to:

#### segment performance indicators; and

#### report on performance indicators and guaranteed service levels;

in any way the Commission considers is appropriate in the circumstances.

# Amending this Code

## Variation or revocation by the Commission under the Act

### The Commission may at any time vary or revoke any part of this Code in accordance with section 24 of the Act.

## Request can be made by an electricity entity or interested stakeholder for variation or revocation.

### An electricity entity or interested stakeholder may request the Commission to vary or revoke any part of this Code.

### Unless the Commission considers the request is made on trivial or vexatious grounds (in which case the Commission may immediately reject the request) an application to vary or revoke any part of this Code will be dealt with by the Commission in accordance with this clause 2.

## Commencement of variation or revocation

### The Commission will notify the relevant electricity entity or interested stakeholder of its decision.

### A notice in relation to a variation or revocation will have effect from the day the Commission specifies in the notice.

# Target Standards

## Establishing target standards

### A network entity must submit to the Commission for approval proposed target standards for a regulatory control period developed in accordance with this clause 3.1.

### The submission must:

#### set out the proposed targets on a year-by-year basis for the regulatory control period;

#### include the performance indicators requiring a target standard in schedule 3;

#### be segmented in accordance with clause 7 and schedule 3;

#### be calculated and defined in accordance with schedule 3;

#### contain sufficient information and documentation to support the submission including:

##### historical outcomes (for example, at least the last four years and the current regulatory periods’ performance data) and benchmarking information;

##### a list of feeders by feeder categories;

##### information on stakeholder engagement, including engagement with other electricity entities;

##### evidence and justification for targets that do not match historical outcomes;

##### evidence and justification for any substantial change in targets including detailed information on the cost to achieve the current target and cost to achieve the proposed target, and specific stakeholder engagement;

##### specifically addressing the object of the Code;

##### where relevant, specifically addressing individual elements of section 6(2) of the Act; and

##### any other information requested by the Commission.

### A network entity must provide all additional information requested by the Commission from time to time in relation to the proposed target standards within timeframe specified by the Commission.

### In deciding whether to approve the proposed target standards, the Commission may consult with other electricity entities, the Minister and anyone else it considers pertinent.

### The Commission may approve the proposed target standards subject to such conditions as it considers appropriate.

### If in the Commission’s reasonable opinion a target standard is contrary to the objectives of this Code or the matters listed in section 6(2) of the Act, the Commission may vary that target standard (in which case the Commission must provide reasonable notice to the network entity) at any time and in any way the Commission sees fit (but not in a manner that is inconsistent with the Act).

### If the Commission does not:

#### receive; or

#### approve

the proposed target standards under this clause 3.1 for a regulatory control period, the Commission may, prior to the commencement of that regulatory control period, set a target standard for each performance indicator requiring a target standard in any way the Commission sees fit.

### Where the submission is complete (as set out in clause 3.1.2) and sufficient stakeholder engagement has been undertaken, the Commission must make a decision on the network entity’s proposed submission within three months of receipt of the submission.

## Varying the target standards

### A network entity may at any time request the Commission to vary one or more of its target standards.

### A request under clause 3.2.1 must state the reasons for varying the target standards and include information as per clause 3.1.2.

### The Commission will deal with the request as per clauses 3.1 to clause 3.1.8.

### If any further information or clarification required pursuant to clause 3.1 is not provided to the Commission’s satisfaction within 10 business days of the request, then the network entity will be deemed to have withdrawn the request.

### A variation to a target standard under this clause 3.2.1 will take effect on a date specified by the Commission. The Commission is to consult with the relevant network entity before deciding on the effective date of change.

## Target standard obligations

### A network entity must use its best endeavours to meet the target standards approved by the Commission under this clause 3.

## Publication of target standards

### The Commission will publish the target standards and associated information on the Commission’s website.

# Guaranteed Service Level Scheme

## GSL payment

### Section 4 applies to network entities, retail entities and small customers.

### A network entity must use its best endeavours to meet the guaranteed service levels applying to the network entity.

### If a network entity does not meet a guaranteed service level in relation to a small customer, it must pay that small customer the relevant GSL payment set out in schedule 1 for that guaranteed service level.

### A network entity must determine the amount of the GSL payment (if any) that each eligible small customer is entitled to under this clause 4.

### Where the guaranteed service level is based on performance within a financial year, the network entity is to determine the amount of the GSL payment within 45 days of the end of the financial year.

### When determining financial year-based GSL payments, network entities are to base the assessment on the performance at the premise across the financial year, which may include multiple customers and meters. Payment is to be made to the small customer who is registered at the premise as at 30 June of the financial year.

### Despite clause 4.1.3, the events set out in clause 7.2.3 will not give rise to a GSL payment under clause 4.1.3.

### When a network entity has determined a GSL payment is required under clause 4.1.4 and clause 4.1.7, then a network entity must:

#### pay the eligible small customer the relevant amount of the GSL payment; or

#### notify the retail entity for an eligible small customer of the amount of the GSL payment for that eligible small customer and the manner in which that GSL payment was determined; and

#### make that GSL payment to the eligible small customer’s retail entity in accordance with clause 4.3;

as soon as reasonably practicable after that entitlement arises under this clause 4.

### GSL payment to eligible small customers can be in the form of a rebate (credit on the customer’s bill), credit, cheque or bank transfer, or as agreed between the eligible small customer and electricity entity.

### After receiving a notice from a network entity under clause 4.1.8, the retail entity must pay the relevant eligible small customer the amount of the GSL payment for that eligible small customer as soon as practicable.

### Upon payment of the GSL payment, the relevant electricity entity is to also provide the eligible small customer with details provided by the network entity concerning the manner in which that GSL payment was determined.

### Nothing in this clause 4.1 will entitle a network entity to recover from an eligible small customer any GSL payment.

## Ceased eligible small customers

### If an eligible small customer, before receiving payment to which it is entitled under clause 4.1.4, notifies its retail or network entity that it will cease being a customer of the entity, the retail or network entity will include, when possible, the GSL payment in the final bill.

### If a payment is not made in the eligible small customer’s final bill then the network entity (and relevant retail entity) will make best endeavours to locate and pay the eligible small customer.

### If, within 12 months of ceasing being a customer, the retail or network entity is not able to locate the eligible small customer under clause 4.2, neither the network entity nor the retail entity will have any further obligations under clause 4.1.8 or 4.2 in relation to that GSL payment.

## Payments between network entities and retail entities

### At the request of the retail entity, the network entity must pay any reasonable charges:

#### incurred by the retail entity in providing services under clause 4.1.9; and

#### approved by the Commission.

### A network entity must ensure the retail entity is reimbursed for any GSL payment passed through or required to be passed through by that retailer to an eligible small customer after notifying the retail entity under clause 4.1.8.

### A retail entity must provide confirmation to the network entity of reimbursements to an eligible small customer under clause 4.1.8.

### Upon receipt of confirmation a network entity has 21 days, or as otherwise agreed with the retail entity, to reimburse the retail entity.

### The retail and network entities must cooperate to ensure a timely and accurate GSL payment is paid to each eligible small customer in accordance with this clause 4.

## Effect of a GSL payment

### For the avoidance of doubt, a network entity does not make any admission of legal liability or a breach of the Code or other applicable codes and laws in giving a GSL payment.

### For the avoidance of doubt, a retail entity does not make any admission of legal liability or a breach of the Code or other applicable codes and laws when a network entity makes a GSL payment that is passed through the retail entity.

## GSL complaints

### If a dispute arises relating to a network entity in respect of any matter under or in connection with GSL payments, the network entity must attempt to resolve the dispute by negotiations in good faith.

### Complaints against network entities owned by the Northern Territory Government are to be made to the Northern Territory Ombudsman.

### Complaints to the Northern Territory Ombudsman are to be made in accordance with applicable procedures in the Ombudsman Act.

### Complaints against network entities not owned by the Northern Territory Government are to be made to the Commission.

## GSL complaints to the Commission

### Complaints to the Commission, under clause 4.5.4 will be subject to the following rules and process.

### A group of small customers with substantially the same dispute to resolve with a network entity may elect to resolve that dispute individually or collectively.

### If the disputing parties cannot resolve the dispute by negotiations in good faith within 10 business days of the dispute first arising, a small customer may make a complaint to the Commission about the network entity on the following grounds:

#### the small customer is eligible for a GSL payment;

#### an error has been made in relation to a GSL payment and as a result, the small customer has been adversely affected; or

#### the bona fide attempts made by the small customer to resolve the dispute with a network entity have failed.

### A complaint under clause 4.5.4:

#### must be in writing;

#### must be made within one year after the small customer first becomes aware of the action or conduct that is the subject of the complaint; and

#### contain details of the grounds of the complaint, including:

##### reasons why the small customer is of the view that he or she is entitled to receive a GSL payment; and

##### details showing how the small customer has made a genuine, but unsuccessful, attempt to resolve the dispute with the network entity.

### A small customer can authorise a retail entity to act on its behalf in relation to a dispute.

### Subject to the rules of natural justice, the Commission must conduct a dispute resolution process with as little formality and technicality and as much expedition as possible.

### In determining a dispute under clause 4.6.1, the Commission may:

#### seek and review all the information the Commission deems necessary;

#### consult other persons as the Commission sees fit;

#### take measures as the Commission sees fit to expedite the completion of the dispute resolution process; and

#### make any order that it considers expedient to dispose of the dispute.

### The Commission must deliver to the disputing parties a written determination that sets out the reasons for the determination and findings of fact on which the determination is based.

### The findings of the Commission are final and binding on the disputing parties.

# Reporting

## Obligations to report actual performance

### Retail entities and generator entities must, no later than 31 August of the next financial year, submit to the Commission a report on their actual performance against the performance indicators.

### Network entities must, no later than 30 September of the next financial year, submit to the Commission a draft report and by 31 October a final report on their actual performance against the performance indicators.

### Where an electricity entity believes it cannot report all or part of its requirements it can seek an extension from the Commission. The request for an extension under clause 5.1.1 or 5.1.2 must be received prior to the end of the reporting period.

## Requirements

### A report under clause 5.1.1 must:

#### in relation to generation services, include the performance indicators set out in schedule 2;

#### in relation to network services, include the performance indicators set out in schedule 1 and schedule 3.

#### in relation to retail services, include performance indicators set out in schedule 4, noting only small customers are required to be reported against; and

#### be segmented in accordance with clause 7 and as per the relevant schedules.

### A report under this clause 4 must include:

#### a responsibility statement;

#### relevant internal audit reports; and

#### four years of history plus the reporting period data.

### A report in relationship to schedule 1 must include:

#### the number of customers paid (or due to be paid) by performance indicator;

#### total payments (paid or due to be paid) by performance indicator; and

#### number of customers where payments could not be made, under clause 4.2.

### The Commission may request further information or clarification of a report submitted under this clause 5.

### An electricity entity must respond to a request under clause 5.2.3 within 20 business days of receipt of request or as otherwise specified by the Commission.

## Reporting against target standards

### If a network entity fails to meet a target standard for a reporting period, the report submitted to the Commission by that network entity for the reporting period under this clause 4 must include:

#### a statement of the reasons for that failure;

a statement that explains and demonstrates how the network entity has used its best endeavours to meet the relevant target standard; and

#### a statement on the measures the network entity proposes to take to ensure the relevant target standard will be met ongoing into the future.

## IEEE beta 2.5 events

### For a (possible) natural event referred to in clause 7.2.3, the network entity must notify the Commission in writing within 10 business days of the event occurring.

### If a network entity excludes a network outage from the adjusted category or GSL payments in accordance with 7.2.3 (f), the network entity must issue a report to the Commission within 30 business days of the event.

### The report submitted to the Commission under clause 5.4.2 must include:

#### the relevant event identified under clause 7.2.3(f);

#### information and documentation on the circumstances surrounding the event;

#### the impact of the event on the network entity’s ability to meet the guaranteed service levels;

#### the extent of the exclusion from the adjusted category;

#### the proposed extent of the exclusion; and

#### reasons why the Commission should consider the event as an exclusion.

### The Commission will review the information provided by the network entity to verify that the event was outside the control of the network entity.

### The Commission may consult with other persons as the Commission sees fit.

### The Commission may request additional information.

### If the Commission is not satisfied the event was outside the control of the network entity, it may disallow the event as an excluded event for GSL payments under clause 4.1 and reporting purposes under clause 5.

### The network entity must use its best endeavours to minimise the events and interruptions set out in clause 7.2.3.

## The Commission’s obligations

### On receipt of a report submitted under this clause 4, the Commission:

#### will publish an assessment of the report;

#### may make the report publicly available; and

#### must ensure any information made publicly available by the Commission complies with section 26 of the Act.

# Data Quality

## Data quality

### An electricity entity must, in accordance with good electricity industry practice:

#### periodically collect and maintain data (in connection with the target standards, performance indicators or reporting requirements under clause 4), as is reasonably sufficient for the purpose of complying with its obligations under this Code and enabling the Commission to perform its functions under this Code; and

#### make this data available on request to the Commission and an auditor appointed under clause 6.2 or clause 6.3.

## Periodic audit of data

### An electricity entity must undertake an independent audit to ensure compliance with clause 6.1.1 (a) at least once every three years for each performance indicator that the electricity entity is required to report against as set out in clause 4.

### The first auditing period will be from 2017-18 to 2019-20, and thereafter every three years.

### An independent auditor appointed under this clause 6 must have the necessary technical expertise, be appointed for no longer than a six-year period and not be reappointed for a further three years.

### The electricity entity is to consult with the Commission on the scope of work and a list of potential independent auditors before appointing an independent auditor.

### If the electricity entity fails to appoint an independent auditor under clause 6.2.1 the Commission may appoint an independent auditor to undertake an audit of the electricity entity’s compliance with clause 5.

## Additional audit of data

### Additionally, the Commission may at any time, give notice to the electricity entity to require it to appoint an independent auditor to undertake an audit of the electricity entity’s compliance with clause 5.

### The audit requirements will be determined by the Commission in consultation with the electricity entity.

### An auditor appointed under this clause 6.3.1 must have the necessary technical expertise determined by the Commission and notified to the electricity entity.

### If the electricity entity fails to comply with a notice given by the Commission under this clause 6.3 by the date set out in the notice, the Commission may appoint an independent auditor to undertake an audit of the electricity entity’s compliance with clause 6.1.1.

### An electricity entity must meet the costs of any audit under this clause 6.

# Data Segmentation

## Data segmentation

### An electricity entity must segment the performance indicators and GSL payments in accordance with the categories listed against the relevant performance indicator in schedules 1 to 4.

## Adjusted and unadjusted performance indicators

### Clause 7.2 applies to network entities.

### An network entities must segment the performance indicators separately for the following categories:

#### adjusted; and

#### unadjusted,

in accordance with schedules 1 and 3 and clause 7.2.3.

### A network entity may only exclude an unplanned network outage from the adjusted category if the event that caused the unplanned network outage is listed below and was beyond the reasonable control of the network entity:

#### load shedding due to a generation shortfall;

#### automatic load shedding due to the operation of under-frequency relays following the occurrence of a power system under-frequency condition;

#### load shedding at the direction of the system controller;

#### load interruptions caused by the exercise of any obligation, right or discretion imposed upon or provided for under jurisdictional electricity legislation or national electricity legislation applying to a network entity;

#### for load interruptions caused or extended by a direction from state or federal emergency services, provided a fault in or the operation of the network did not cause, in whole or part, the event giving rise to the direction; and

#### a natural event identified as a statistical outlier using the IEEE 2.5 beta method.

# Chapter 2

# Schedule A – Guaranteed Service Level Scheme

## Performance indicators, guaranteed service levels, GSL payment amounts and implementation dates

### Table 1 sets out various:

#### performance indicators;

#### guaranteed service levels; and

#### GSL payment amounts, by year.

## Guaranteed service levels categories

### Guaranteed service levels only apply to small customers.

## GST

### All GSL payments specified in Table 1 are inclusive of GST.

Table 1

| Performance indicators |  | notes | GSL Payments |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 |
| Duration of a single interruption: |  |  |  |  |  |  |  |  |  |
|  | More than 12 hours and less than 20 hours | per event | $86.00 | $88.00 | $90.00 | $92.50 | $94.50 | $97.00 | $99.50 |
|  | More than 20 hours | per event | $134.00 | $137.50 | $141.00 | $144.50 | $148.00 | $151.50 | $155.50 |
| Frequency of interruptions: |  |  |  |  |  |  |  |  |  |
|  | More than 12 interruptions in a financial year | per financial year | $86.00 | $88.00 | $90.00 | $92.50 | $94.50 | $97.00 | $99.50 |
| Cumulative duration of interruptions: |  |  |  |  |  |  |  |  |  |
|  | More than 20 hours of interruptions in a financial year | per financial year | $134.00 | $137.50 | $141.00 | $144.50 | $148.00 | $151.50 | $155.50 |
| Time for establishing a connection: |  |  |  |  |  |  |  |  |  |
|  | Re-connection of an existing premises – within 24 hours of receipt by the network entity of a valid request for re-connection from the small customer | per day late, up to a maximum of $300.00 | $53.50 | $55.00 | $56.50 | $57.50 | $59.00 | $60.50 | $62.00 |
|  | New connection of a customer’s premises (excluding connections requiring network extension or augmentation) – within 5 business days of receipt by the network entity of a valid electrical certificate of compliance from the small customer, or as otherwise agreed with the customer | per day late, up to a maximum of $300.00 | $53.50 | $55.00 | $56.50 | $57.50 | $59.00 | $60.50 | $62.00 |
| Time for giving notice of planned interruptions: |  |  |  |  |  |  |  |  |  |
|  | At least 2 business days’ notice prior to the commencement of the day upon which the planned interruption will occur |  | $53.50 | $55.00 | $56.50 | $57.50 | $59.00 | $60.50 | $62.00 |
| Keeping appointments: |  |  |  |  |  |  |  |  |  |
|  | Within 30 minutes of the time agreed with the small customer |  | $21.40 | $22.00 | $22.50 | $23.10 | $23.70 | $24.30 | $24.90 |

# Schedule B – Generation Services Performance Indicators

## Interpretation

### Where information in this Schedule is set out in brackets (namely ‘[‘ and ‘]’), and preceded by the expression ‘Example’ or ‘Note’, the information:

#### is provided to assist readers; and

#### may be used in interpreting this Code.

## Application of schedule 2

### This schedule defines the performance indicators for generation entities.

### In particular, this schedule specifies the way in which data is to be used to calculate those performance indicators.

### This schedule is separated into sections: generation service performance indicators; generating unit availability performance indicators; and generation services reliability performance indicators.

### A generation entity must calculate the performance indicators:

#### identified in Table 1 of this schedule; and

#### in accordance with the formulas set out in this schedule or the Definitions and Interpretation schedule.

### The data used to calculate each performance indicator must correspond with the reporting period for that performance indicator.

## Generation services performance indicators

### Table 1:

#### lists the generation services performance indicators for the purpose of clause 5 of this Code; and

#### specifies the way in which these performance indicators must be segmented for reporting under this Code; and

#### specifies the performance indicators that will be treated as confidential.

### Where a performance indicator is confidential, the Commission will seek to use the information in aggregated form (that is, combined with other generator entity data).

### Where there is only one generator entity suppling to the power system, or there is sufficient reason, then individual generator entity data may be reported by the Commission.

TABLE 1 – GENERATION SERVICES PERFORMANCE INDICATORS

| Performance Indicator | Report | Confidential | Segmentation |
| --- | --- | --- | --- |
| Availability Factor (AF) | Yes | Yes | Power station |
| Unplanned availability factor (UAF) | Yes | Yes | Power station |
| Equivalent availability factor (EAF) | Yes | Yes | Power station |
| Forced outage factor (FOF) | Yes | Yes | Power station |
| Equivalent forced outage factor (EFOF) | Yes | Yes | Power station |
| System average interruption duration index (SAIDI) relating to generation interruption | Yes | No | Power system and region |
| System average interruption frequency index (SAIFI) relating to generation interruption* | Yes | No | Power system and region |

*Note: 	For the avoidance of doubt, clause 6.2.3 of this Code does not apply to generation services reliability performance indicators. However, any generation event that affects supply to customers and is caused by assets or equipment that are outside plant management control in accordance with the IEEE Standard 762-2006 is to be excluded for the purpose of calculating generation services reliability performance indicators.

## Generating unit availability performance indicators

### The generating unit availability performance indicators in this clause 1.4 of this Schedule are based on the group performance indices in the US Institute of Electrical and Electronics Engineers (IEEE) Standard 762-2006.

### When calculating the generating unit availability performance indicators for each power station, only generation outages that are caused by a generation event that relates to generating units that form part of the same power station are to be included.

[Note:	Each value that is used to calculate the generating unit availability performance indicator must be weighted by multiplying the value with the generating unit’s gross maximum capacity. All those products are then summed over all of the generating units which make up the relevant power station. Where necessary, this is reflected in the formula. For the avoidance of doubt, each value is weighted while calculating the performance indicator and not after.]

### Each electricity entity must provide the following information in relation to its generating units and power stations to the Commission in the report submitted to the Commission pursuant to clause 4.1.1 of this Code:

#### the gross maximum capacity of each generating unit;

#### any unit derating for each generating unit (permanent or otherwise); and

#### information that explains any changes in gross maximum capacity or unit derating from the previous reporting period.

[Note:	The Commission intends to compare this information with the report submitted for the previous reporting period to assess any changes in gross maximum capacity and unit derating and to ensure that the generating unit availability performance indicators are calculated correctly and accurately to reflect the true availability of generating units in the reporting period.]

### In circumstances where it is necessary to calculate the ‘equivalent partial outage hours’ that a generating unit is unavailable due to a generation outage that results in a unit derating, the following formula will be used:

[Note:	This formula is used to calculate the number of equivalent partial outage hours (EH) that a generating unit is unavailable due to partial planned outages, partial unplanned outages or partial forced outages. The EH due to partial planned outages and partial unplanned outages are used as an input to calculate the Equivalent Availability Factor (clause 1.4.7 of this Schedule) whereas the EH due to partial forced outages are used as an input to calculate the Equivalent Forced Outage Factor (clause 1.4.9 of this Schedule).]

Where:

H is the total number of hours that a generating unit is unavailable due to a generation outage that results in a unit derating:

UD (or ‘unit derating’) is the unit derating value.

GMC is the gross maximum capacity.

[Example: If a generating unit with a gross maximum capacity of 10.1 MW had its output reduced to 6.06 MW for a period of 30 days the Equivalent Partial Outage Hours will be:

30 (days) x 24 (hours) x (6.06 / 10.1) = 432 hours]

### Availability factor (AF)

Where:

i is each generating unit.

UH (or ‘unavailable hours’) is the total number of hours that a generating unit is unavailable due to planned outages and unplanned outages. This excludes the number of equivalent partial outage hours due to partial planned outages and partial unplanned outages.

H is the total number of hours. However, if a generating unit is commissioned during the relevant reporting period, H will be the total number of hours from the date the generating unit is commissioned up until the end of that reporting period.

[Example:

If a generating unit is commissioned at 12:00 p.m on 1 December of the reporting period, H will be the total number of hours from 12:00 p.m on 
1 December up until the end of the reporting period.]

GMC is the gross maximum capacity (applicable to weighted multiple generating units that are part of the same power station).

The AF is expressed as a percentage.

[Example: Assuming a power station has two generating units, A and B, with a gross maximum capacity of 10 and 20 MW respectively – if generating unit A is shut down for a total of exactly 30 days and generating unit B is shut down for a total of exactly 20 days for planned outages or unplanned outages in a reporting period of one year, it would have been unavailable for 1,200 hours (720 hours for generating unit A and 480 hours for generating unit B).

The AF for the power station is calculated as follows:

AF = (1-((720 X 10) + (480 X 20)) / ((8760 X 10) + (8760 X 20))) X 100

AF = 93.61%]

### Unplanned Availability Factor (UAF)

Where:

i is each generating unit.

UOH (or ‘unplanned outage hours’) is the total number of hours that a generating unit is unavailable due to unplanned outages. This excludes the number of equivalent partial outage hours due to partial unplanned outages.

H is the total number of hours. However, if a generating unit is commissioned during the reporting period, H will be the total number of hours from the date the generating unit is commissioned up until the end of the reporting period.

GMC is the gross maximum capacity (applicable to the weighted multiple generating units that are part of the same power station).

The UAF is expressed as a percentage.

[Example: Assuming a power station has two generating units, A and B, with a gross maximum capacity of 10 MW and 20 MW respectively – if generating unit A is shut down for 12 days and generating unit B is shut down for 15 days for unplanned outages, both generating units would have been unavailable for 288 hours and 360 hours, respectively.

The UAF for the power station is calculated as follows:

UAF = (1-((288 X 10) + (480 X 20))/((8760 X 10) + (8760 X 20))) X 100

UAF = 95.25%]

### Equivalent availability factor (EAF)

Where:

i is each generating unit.

UH (or ‘unavailable hours’) is the total number of hours that a generating unit is unavailable due to planned outages and unplanned outages. This excludes the number of equivalent partial outage hours due to partial planned outage and partial unplanned outages.

EUH (or ‘equivalent unavailable hours’) is the total equivalent partial outage hours due to partial planned outages and partial unplanned outages.

H is the total number of hours. However, if a generating unit is commissioned during the reporting period, H will be the total number of hours from the date the generating unit is commissioned up until the end of the reporting period.

GMC is the gross maximum capacity (applicable to weighted multiple generating units that are part of the same power station).

The EAF is expressed as a percentage.

[Example: Assuming a power station has two generating units, A and B, with a gross maximum capacity of 10 MW and 20 MW, respectively – if generating unit A is shut down due to planned outages and unplanned outages for 30 days and generating unit B had its output reduced by a partial outage to 60% of its total generation output for a further period of 30 days, its equivalent partial outage hours will be 30 (days) x 24 (hours) x 0.6 = 432 hours.

The EAF for the power station is calculated as follows:

EAF = (1 – ((720 X 10) + (432 X 20))/((8760 X 10) + (8760 X 20))) X 100

EAF = 86.85%]

### Forced outage factor (FOF)

Where:

i each generating unit.

FOH (or ‘forced outage hours’) is the total number of hours that a generating unit is unavailable due to forced outages. This excludes equivalent partial outages hours due to partial forced outages.

H is the total number of hours. However, if a generating unit is commissioned during the reporting period, H will be the total number of hours from the date the generating unit is commissioned up until the end of the reporting period.

GMC is the gross maximum capacity (applicable to weighted multiple generating units that are part of the same power station).

FOF is expressed as a percentage.

[Example: Assuming a power station has two generating units, A and B, with a gross maximum capacity of 10 MW and 20 MW respectively, if generating unit A is forced out of service on two occasions for periods of 5 days and 3 days in the reporting period, its total forced outage time is 192 hours. If generating unit B is forced out of service for a period of 2 days, its total forced outage time is 48 hours.

The FOF for the power station is calculated as follows:

FOF = ((192 X 10) + (48 X 20)) / ((8760 X 10) + (8760 X 20)) X 100

FOF = 1.10%]

### Equivalent forced outage factor (EFOF)

Where:

i is each generating unit

FOH (or ‘forced outage hours’) is the total number of hours that a generating unit is unavailable due to forced outages.

EFOH (or ‘equivalent forced outage hours’) is the equivalent partial outage hours due to partial forced outages.

H is the total number of hours. However, if a generating unit is commissioned during the reporting period, H will be the total number of hours from the date the generating unit is commissioned up until the end of the reporting period.

GMC is the gross maximum capacity (applicable to weighted multiple generating units that are part of the same power station).

EFOF is expressed as a percentage.

[Example: Assuming a power station has two generating units, A and B, with a gross maximum capacity of 10 MW and 20 MW respectively – During the reporting period generating unit A was forced out of service for 8 days and was also restricted to 50% of its total generation output for 80 hours because of a partial forced outage. Generating Unit B was restricted to 30% of its total generation output for 48 hours.

The power station’s EFOF would be calculated as

EFOF = (((192 + (80 X 0.5)) X 10)) + ((48 X 0.3) X 20)) / ((8760 X 10) + (8760 X 20)) X 100

EFOF = 0.99%]

## Generation services reliability performance indicators

### When calculating generation services reliability performance indicators:

#### for each power system:

##### only include those generation interruptions that are caused by generation events that are related to generation units/facilities that form part of the same power system and affect supply to customers located within the same power system; and

##### only include those customers who are supplied by the same power system; and

#### for each region:

##### only include those generation interruptions caused by generation events related to generation units/facilities that form part of the same power system and affect supply to customers located within the boundaries of the same region; and

##### only include those customers who receive supply from within the boundaries of the same region.

# Schedule C – Network Services Performance Indicators

## Interpretation

### Where information in this schedule is set out in brackets (namely ‘[‘ and ‘]’), and preceded by the expression ‘Example’, the information:

#### is provided to assist readers; and

#### may be used in interpreting this Code.

## Application of schedule 3

### This schedule defines the performance indicators for network entities.

### In particular, this schedule specifies the way in which data is to be used to calculate those performance indicators.

### This schedule is separated into the following sections; distribution network reliability performance indicators, reporting on feeder, poorly performing feeders, network entities customer service performance indicators, GSL reporting and exclusion reporting.

### For the purposes of this Code all network assets are classified as distribution network assets and their performance is to be reported as per the distribution network performance indicators.

### An electricity entity must calculate the performance indicators identified in the relevant clauses of this schedule and in accordance with the formulas set out this schedule.

### The data used to calculate each performance indicator must correspond with the relevant reporting period.

## Distribution network reliability performance indicators

### Table 2:

#### lists the performance indicators to measure performance of the distribution network for the purpose of clause 4 of this Code;

#### identifies whether a target standard needs to be set for each performance indicator for the purpose of clause 3 of this Code; and

#### specifies the way in which the performance indicators are to be segmented for target standard setting and reporting under this Code.

TABLE 2: DISTRIBUTION NETWORK PERFORMANCE INDICATORS

| Performance Indicator | Report | Segmentation | Target Standard | Segmentation |
| --- | --- | --- | --- | --- |
| System average interruption duration index (SAIDI) unadjusted | Yes | Regional and Feeder Category | Not required | N/A |
| System Average Interruption Duration Index (SAIDI) adjusted | Yes | Regional and Feeder Category | Yes | Feeder category |
| System Average Interruption Frequency Index (SAIFI) unadjusted | Yes | Regional and Feeder Category | Not required | N/A |
| System Average Interruption Frequency Index (SAIFI) adjusted | Yes | Regional and Feeder Category | Yes | Feeder category |
| Poorly performing feeders | Yes | Individual feeder | Not required | N/A |

### The distribution network reliability performance indicators in clause 1.3 of this Schedule are based on the reliability indices in the US Institute of Electrical and Electronics Engineers (IEEE) Standard 1366-2012.

A network interruption must be reported when the remote monitoring equipment signals a loss of supply or when the customer signals the loss of supply to the electricity entity whichever is the first to occur.

### For the purpose of calculating distribution network reliability performance indicators:

#### for each region:

##### only include those network interruptions that are caused by a distribution network related event and occur on a part of the distribution network that is within the boundaries of the same region; and

##### only include those customers who receive supply from within the boundaries of the same region; and

#### for feeder category:

##### only include those network interruptions that are caused by individual feeders that are part of the same feeder category; and

##### only include those customers who are supplied by a group of individual feeders that are part of the same feeder category.

### System Average Interruption Duration Index (SAIDI) means the sum of the duration of each sustained unplanned network interruption (in customer minutes) divided by the total number of distribution customers. SAIDI excludes momentary interruptions of one minute or less.

### SAIDI unadjusted and adjusted are to use the following formula using relevant data. That is, unadjusted SAIDI uses unadjusted data and adjusted SAIDI is to use adjusted data.

Where:

#### ID (or ‘interruption duration’) is the sum of the duration of each unplanned network interruption expressed in minutes.

#### C (or ‘customers’) is the sum of the number of impacted customers of each unplanned network interruption.

#### CS (or ‘customers supplied’) is the average of the number of all customers supplied at the beginning of the reporting period and the number of all customers supplied at the end of the reporting period.

#### Additional notes

##### Unmetered street lighting supplies are excluded. Other unmetered supplies can either be included or excluded from the calculation of reliability measures.

##### Inactive accounts are excluded

### System Average Interruption Frequency Index (SAIFI) means the total number of unplanned network interruptions divided by the total number of distribution customers. SAIFI excludes momentary interruptions of one minute or less. SAIFI is expressed per 0.01 interruptions.

### SAIFI unadjusted and adjusted are to use the following formula using relevant data. That is, unadjusted SAIFI uses unadjusted data and adjusted SAIFI is to use adjusted data.

Where:

#### TI (or ‘total interruptions’) is the total number of unplanned network interruptions.

#### CS (or ‘customers supplied’) is the average of the number of all customers supplied at the beginning of the reporting period and the number of all customers supplied at the end of the reporting period.

#### Additional notes

##### Unmetered street lighting supplies are excluded. Other unmetered supplies can either be included or excluded from the calculation of reliability measures.

##### Inactive accounts are excluded;

## Reporting on Feeders

### For each reporting period network entities must provide the Commission with a list of feeders by feeder category as set out in guidelines.

## Poorly Performing Feeders

### Network entities must report to the Commission on the 5 worst performing feeders for each feeder category for the reporting period including the following information:

#### the SAIDI performance of the individual feeder that was used to identify each individual feeder that has performed poorly; and

#### a statement that explains the poor SAIDI performance of each of these individual feeders and the action the network entity intends to take to improve the poor SAIDI performance of these individual feeders.

### Network entities must provide the Commission with a list of feeders that will be subject to capital improvements in the current financial year. The information provided should include a brief description of the capital works, capital expenditure in the financial year, total capital expenditure for the project, and planned start and completion dates.

## Network entities Customer Service Performance indicators

### Table 3:

#### lists the performance indicators to measure customer performance of network entities; and

#### specifies the way in which the performance indicators are to be segmented for the purpose of reporting under this Code.

TABLE 3: NETWORKS CUSTOMER SERVICE PERFORMANCE INDICATORS

| Performance Indicator | Report | Segmentation |
| --- | --- | --- |
| Connections | Yes | CBD area/urban area; rural area |
| Phone Answering | Yes | NT |
| Network Complaints | Yes | Region |

## Connections

#### The performance indicators are:

##### the number and average length of time taken to provide new connections in urban areas to new subdivisions where minor extensions or augmentation is required.

### Phone answering

#### The performance indicators are:

##### the average time taken to answer the phone;

##### the percentage and total number of calls not answered within 30 seconds of caller asking to talk to a person; and

##### the percentage and total number of calls abandoned.

### For further detailed information refer to the AER’s Distribution STPIS requirements, as updated from time to time.

[EXAMPLE: Calls to the fault line answered in 30 seconds where the time to answer a call is measured from when the call enters the telephone system of the call centre (including that time when it may be ringing unanswered by any response) and the caller speaks with a human operator, but excluding the time that the caller is connected to an automated interactive service that provides substantive information. This measure does not apply to: 􀂃 calls to payment lines and automated interactive services; 􀂃 calls abandoned by the customer within 30 seconds of the call being queued for response by a human operator. Where the time in which a telephone call is abandoned is not measured, then an estimate of the number of calls abandoned within 30 seconds will be determined by taking 20 per cent of all calls abandoned.

Note: Being placed in a queuing system (automated or otherwise) does not constitute a response.]

### Network Complaints:

#### The performance indicators are:

##### the percentage and total number of complaints associated with network related activities segmented into complaint categories; and

##### the percentage and total number of complaints associated with the network quality of supply issues.

## Guaranteed Service Performance indicators

### Network entities are to report on their GSL payments. The report is to be categorised by performance indicator and by Guaranteed Service Level, as specified in Schedule 1, and is to include:

#### 4 years of history plus reporting period outcome;

#### The number of GSL payments made to customers (actual or forecast);

#### The number of payments that should have been made but where not as per clause 4.2; and

#### Total value of GSL payments (actual or forecast).

### If a forecast is provided, the date of the forecast must also be included.

## Exclusions

### A network entity must provide details of each of the exclusions under clause 7.2.3 that has been applied in calculating the adjusted distribution network performance indicators and GSL payments.

### At a minimum network entities must detail the number and type, as per clause 7.2.3 of exclusions by performance indicator and by region, and be consistent with clause 5 of this Code.

# Schedule D – Retail Services Performance Indicators

## Retail Services Performance Indicators

### This Schedule defines the performance indicators for retail entities.

### In particular, this Schedule specifies the way in which data is to be used to calculate those performance indicators.

### This Schedule is separated into two sections; AER based performance indicators and Northern Territory specific performance indicators.

### A retail entity must calculate the performance indicators identified in the relevant clauses of this Schedule.

### The data used to calculate each performance indicator must correspond with the relevant reporting period.

## Performance Indicators

### Table 4:

#### lists and Northern Territory based the AER performance indicators to measure customer performance of a retail entity;

#### specifies the relevant reporting period in which the performance indicators are to be reported for the purposes of reporting under this Code; and

#### specifies the way in which the performance indicators are to be segmented for the purposes of reporting under this Code.

### Where indicated in Table 4, for the purpose of calculating AER retail services performance indicators retail entities are to be consistent with the AER’s, AER (Retail Law) Performance Reporting Procedures and Guidelines (or equivalent), updated from time to time.

### Notwithstanding any requirements of the AER, for the purpose of calculating retail services performance indicators for this Code only include small customers that are taking (or likely to take less than) 160 megawatt hours of electricity from the distribution network during the reporting period.

### Where there is a conflict between this Code (or guidelines issued by the Commission) and AER requirements this Code and guidelines takes precedent.

TABLE 4: RETAIL SERVICES PERFORMANCE INDICATORS

| Topic | Performance Indicator | AER / NT | Relevant Reporting Period | New | Segmentation |
| --- | --- | --- | --- | --- | --- |
| Customer Service and Complaints |  |  |  |  |  |
|  | Total number of calls to an operator | AER | AER | N | NT |
|  | Number and percentage of calls forwarded to an operator that are answered within 30 seconds. | AER | AER | N | NT |
|  | Number and percentage of calls abandoned before being answered by an operator. | AER | AER | N | NT |
|  | Complaints—billing | AER | AER | N | NT |
|  | Complaints—energy marketing | AER | AER | N | NT |
|  | Complaints—customer transfers | AER | AER | N | NT |
|  | Complaints - Hardship | NT | quarterly | N | NT |
|  | Complaints—Other | AER | AER | N | NT |
| Handling customers experiencing payment difficulties |  |  |  |  |  |
|  | Number of small customers repaying an energy bill debt | AER | AER | Y | Region |
|  | Average amount of energy bill debt for small customers | AER | AER | Y | Region |
|  | Amount of residential customer energy bill debt | AER | AER | Y | Region |
|  | Number of residential customers on a payment plan | AER | AER | Y | Region |
|  | Number of residential customers who successfully completed their payment plan | AER | AER | Y | Region |
| Pre-payment meters |  |  |  |  |  |
|  | Number of customers by meter type | NT | Quarterly | Y | Meter type / Region |
|  | Number of PPM customers using a PPM system capable of detecting and reporting self-disconnections | AER | AER | Y | Region |
|  | Total number of PPM customers self-disconnected | AER | AER | Y | Region |
|  | Average duration of self-disconnection events | AER | AER | Y | Region |
| De-energisation (disconnection) and Re-energisation (reconnection) |  |  |  |  |  |
|  | Number of customers disconnected for non-payment | AER | AER | N | Region |
|  | Number of customers reconnected within 7 days of disconnection | AER | AER | Y | Region |
|  | Total number of residential customers reconnected in the same name at the same address | AER | AER | Y | Region |
| Hardship Program |  |  |  |  |  |
|  | Number of customers on a retailer’s hardship program | AER | AER | N | Region |
|  | Average debt upon entry into the hardship program | AER | AER | Y | Region |
|  | Levels of debt of customers entering the hardship program | AER | AER | N | Region |
|  | Average debt of hardship program customers | AER | AER | N | Region |
|  | Number of customers exiting the hardship program | AER | AER | N | Region |
|  | Reasons for customers exiting the hardship program | AER | AER | N | Region |
|  | Assistance provided to hardship program customers | AER | AER | Y | Region |
|  | Case studies | AER | AER | Y | Region |

### Additional information for Northern Territory performance indicators is provided below:

#### Complaints – Hardship, is the total number of customer service complaints associated with customer hardship measures.

#### Number of customers by meter type is number of active customers on the last calendar day of the reporting period. Meters are to be categorised as per functionality; including unmetered; pre-payed meters, interval meters, accumulation meters, and other.

# Schedule E – Transitional Provisions

## General

### Clause 1, 2, 3, 4, 6 and 7 of the Code apply from date of publication.

### Proposed targets for the 2019 determination are to be based on the new Code and Schedule 3.

### Clause 5 of the Code is to apply for the 2017-18 reporting period onwards. That is, reports for the 2016-17 financial year are to be provided by Nov 1 2017. Reports subsequent to this are to be provided as per Clause 5.

### Generation entities are to report against the revised Schedule 2 for the 2016-17 financial year onwards.

### Network entities are, with regard to Schedule 1, to report against the GSL payments from 2016-17 onwards.

### Network entities are to report against the ESS Codes old Schedule 2 including transmission performance indicators for the 2014-15 to 18-19 determination period (excluding poor feeder information).

### Network entities will report against the schedule 3 from 2019-20 onwards.

### Network entities are, with regard to the poor feeders section of Schedule 3, to report against the new Schedule 3 from 2016-17 onwards.

### Retail entities are to report against the previous ESS’s Schedule 3 for the 2016-17 financial year. From 2017-18 onwards retail entities are to report against the new Schedule 4.

# Schedule F – Responsibility Statement [to be updated once other changes are finalised]

Responsibility Statement

This report has been prepared by [name of electricity entity] with all due care and skill in accordance with the requirements of the Electricity Standards of Service Code issued by the Utilities Commission of the Northern Territory.

The report covers the reporting period from [date] to [date] during which period [name of electricity entity] had effective policies, systems and procedures in place to monitor compliance with the Electricity Standards of Service Code in accordance with its license.

This report includes:

If applicable, a list of the target standards relevant to [name of electricity entity] as agreed with the Utilities Commission of the Northern Territory on [date];

If applicable, a list of performance indicators relevant to [name of electricity entity] which failed to meet the target standards; and

A list of the results achieved for all performance indicators relevant to [name of electricity entity] for the period of this report;

Date:

Signed:

Print name:

_________________________________________________

Chief Executive/Delegate of Chief Executive Officer

Failure to comply with the Electricity Standards of Service Code is a breach of the licence and the Electricity Reform Act and may attract civil penalties. The Utilities Commission Act and the Electricity Reform Act makes it a serious offence to give false or misleading information to the Utilities Commission. If a corporation contravenes this obligation, each director of the corporation is also taken to have contravened this obligation to comply.

# Schedule G – Definitions and Interpretation [to be updated once other changes are finalised]

| Term | Definition |
| --- | --- |
| Act | Utilities Commission Act |
| Adjusted | To exclude all network outages that meet the requirements of clause 7.2.3 of this Code |
| AER | Australian Energy Regulator |
| Applicable regulatory instruments | The Act, the ERA, the ENTPA Act, any regulation made under those Acts, any condition of a licence issued to an electricity entity or any other code, rule, determination or relevant statutory instrument made by the Commission under the Act |
| Best endeavours | To act in good faith and use all reasonable efforts, skill and resources |
| Bulk supply point | A major substation where transformers reduce the transmission network voltage to a lower level suitable for the distribution network |
| Business day(s) | A day which is not a Saturday, Sunday or observed as a public holiday in the Northern Territory |
| CBD area(s) | The area identified as the ‘CBD area’ as reported by the network entity to the Commission or as otherwise directed by the Commission |
| Code | This Electricity Standards of Service Code |
| Commencement Date | The date on which this Code is gazetted, or a later date specified in that gazette as the date upon which this Code will commence operation |
| Commission | The Utilities Commission of the Northern Territory established under the Act |
| Complaint | Written or verbal expression of dissatisfaction about an action, or a proposed action, or a failure to act by an electricity entity, its employees, agents or contractors, and includes failure by an electricity entity to observe its published or agreed practices or procedures |
| Complaint category | Network entities – the type of complaint specified by the AER distribution STPIS scheme Retail entities – the complaints categories by the AER in its retail reporting guidelines |
| Connect, connected, connection | To form a physical link between a regulated network and a premises to allow the flow of electricity |
| Connection alteration | An alteration to an existing connection, including an addition, upgrade, extension, expansion, augmentation or any other kind of alteration |
| Connection point | Has the meaning given in the ENTPA Act |
| Customer(s) | Has the meaning given in the ERA |
| Customer hardship program | A scheme that is governed by an electricity entity that provides retail services and includes policies on any of the following matters: processes to identify customers experiencing payment difficulties due to hardship, including identification by the relevant electricity entity and self-identification by a customer; process for early response by the relevant electricity entity in cases where customers are identified as experiencing payment difficulties due to hardship; flexible payment options (including a prepayment plan) for the payment of electricity bills by hardship customers; processes to identify appropriate government concession programs and appropriate financial counselling services and to notify hardship customers of those programs and services; an outline of a range of programs that the relevant electricity entity may use to assist hardship customers; process to review the appropriateness of a hardship customer’s contract of supply in accordance with the purpose of the customer hardship policy; processes or programs to assist customers with strategies to improve their energy efficiency, where such processes or programs are required under an applicable regulatory instrument; and and other matter required by an applicable regulatory instrument. |
| Data | Data that results from measuring the performance of generation services, network services, or retail services for the purpose of complying with the reporting requirements of this Code |
| Distribution assets | Include: distribution lines including all poles and associated hardware; terminating switchgear (circuit breakers and isolators) including associated protection and controls; transformers between distribution network voltage levels; switchgear for the above transformers; underground cable systems including conduits and trenching; and transmission assets. |
| Distribution network connection assets | Include: service lines plus meters for customers that are taking (or likely to take less than) 160 megawatt hours of electricity from the distribution network in a financial year; service lines, high voltage lines and plant, meters, dedicated distribution network transformers and associated switchgear for customers that are taking (or likely to take more than) 160 megawatt hours of electricity from the distribution network in a financial year; and transmission network connection assets. |
| Distribution network | For the purpose of this Code, is the regulated network and includes the bulk supply points, distribution assets and distribution network connection assets owned or operated by the relevant network entity |
| Distribution network related event | Any event caused by assets or equipment within the distribution network that affects the conveyance or the control of conveyance of electricity within the distribution network |
| Electricity bill | The monetary amount billed to a customer in accordance with the relevant contract of supply between that customer and an electricity entity. For the avoidance of doubt, the monetary amount may be calculated through a meter reading at the relevant premises or an estimated meter reading for that premises |
| Electrical installation | Has the meaning given in the ERA |
| Electricity entity/entities | Has the meaning given in the ERA |
| Electricity network or network assets/facilities | Has the meaning given in the ENTPA Act |
| Electricity network | Has the meaning given in the Network Access Code |
| Electricity supply industry | ‘has the meaning given in the ERA |
| ENTPA Act | Electricity Networks (Third Party Access) Act |
| Eligible small customer | The small customer entitled to a GSL payment under clause 4 |
| Entry point | Has the meaning given under the ENTPA Act |
| ERA | Electricity Reform Act |
| Equivalent partial outage hours | Calculated in accordance with the ‘equivalent partial outage hours’ formula in Schedule 1 and represents the number of hours that a generating unit is unavailable due to a generation outage that results in a unit derating |
| Feeder category | Any categories defined in guidelines issued by the Commission including CBD, rural long, rural short and urban feeders |
| Financial year | A year commencing 1 July and ending 30 June |
| = | A generation outage (that is not a partial forced outage) of a generating unit caused by a generation event that requires the performance of breakdown maintenance or repairs in relation to that generating unit which can not be delayed until the next period of reduced power system demand as determined by the System Controller |
| Generator or generation unit/facilities | Has the meaning given in the ENTPA Act |
| Generation entity/entities | An electricity entity that provides generation services |
| Generation event(s) | Any event caused by a generator or generation unit/facilities that affect a generating unit’s operating capacity but excludes events caused by assets or equipment that are outside plant management control as determined by the relevant electricity entity |
| Generation interruption | A generation outage that results in a temporary unavailability or temporary curtailment of supply to a customer by the relevant generator and excludes generation interruptions that are less than one (1) minutes duration |
| Generation outage | Any full or partial unavailability of a generating unit, or related equipment and excludes generation outages that are less than one (1) minutes duration |
| Generation services | The services provided by an electricity entity that is licensed to generate electricity for sale under the ERA and excludes the services provided by an Independent Power Producer |
| Generating unit/facilities | Has the meaning given in the ENTPA Act |
| Good electricity industry practice | The exercise of that degree of skill, diligence, prudence and foresight that would reasonably be expected from a significant portion of electricity entities carrying on operations in the electricity supply industry under conditions comparable to those applicable to the relevant electricity entity consistent with the applicable regulatory instruments, safety and environmental protection. The determination of comparable conditions is to take into account factors such as the relative size, duty, age and technological status of the relevant electricity entity and the applicable regulatory instruments |
| Gross maximum capacity | The ‘gross maximum capacity’ value for a generating unit expressed in MWs and calculated in accordance with US Institute of Electrical and Electronics Engineers (IEEE) Standard 762-2006 |
| GSL payment | A guaranteed service level payment to be made in accordance with clause 4 of the amount set out in Schedule 1 |
| Guaranteed service level | A guaranteed service level set out in Table 1 of Schedule 1 |
| Hardship | Includes financial hardship |
| Hour(s) | 60 minutes or part thereof |
| IEEE 2.5 Beta Method | The 2.5 method described in the US Institute of Electrical and Electronics Engineers (IEEE) Standard 1366-2012 |
| Independent Power Producer | An electricity entity identified as an ‘Independent Power Producer’ in the relevant generation licence issued by the Commission in accordance with the ERA |
| Interpretation Act | Interpretation Act |
| Interruption | A temporary unavailability or temporary curtailment of the supply of electricity to a premises, but does not include unavailability or curtailment in accordance with the terms and conditions of that contract for the supply of electricity at that premises |
| Load shedding | Has the meaning given in the System Control Technical Code |
| Minister | The Minister of the Crown who is responsible for the administration of the ERA |
| Network Access Code | The code made by the Minister as set out in the ENTPA Act |
| Network entity/entities | An electricity entity that provides network services |
| Network interruption | A network outage that results in a temporary unavailability or temporary curtailment of supply to a customer by the relevant network and excludes network interruptions that are less than one (1) minutes duration |
| Network outage | Any full or partial unavailability of apparatus, equipment, plan and buildings used to convey, and control the conveyance of electricity and excludes network outages that are less than one (1) minute’s duration |
| Network services | Has the meaning given in the ERA |
| New connection | A new connection where there is no existing connection at the premises or a connection alteration |
| Operating capacity | The reduction of a generating unit’s output from its gross maximum capacity |
| Partial forced outage | A generation outage (that is not a forced outage) of a generating unit that results in a unit derating that requires the performance of breakdown maintenance or repairs in relation to that generating unit which cannot be delayed until the next period of reduced power system demand as determined by the System Controller |
| Partial unplanned outage | An unplanned outage that results in a unit derating |
| Partial planned outage | A planned outage that results in a unit derating |
| Performance indicators | The ‘performance indicators’ prescribed in Schedules 1 to Schedule 4 of this Code |
| Planned interruption | An interruption of the supply of electricity for: planned maintenance, repair or augmentation of an electricity network to which the regulated network is connected; or planned maintenance, repair or augmentation of the regulated network, including planned or routine maintenance of metering equipment; or installation of a new connection. |
| Planned network interruption | A network interruption where more than two business days’ notice was given to customers by the network entity and the network entity has otherwise complied with the relevant requirements of the applicable regulatory instruments |
| Planned outage | A generation outage that is planned in advance and notified to System Control in accordance with the System Control Technical Code |
| Plant management control | The methodology in the US Institute of Electrical and Electronics Engineers (IEEE) Standard 762-2006 that is used to determine causes that are internal or external to plant operation and equipment |
| Power and Water Corporation | Has the meaning given in the ENTPA Act |
| PAWC Networks | Has the meaning given in the ENTPA Act |
| PAWC Retail | The business division of the Power and Water Corporation responsible for the operation of retail services operated by the Power and Water Corporation |
| Power station | The electricity generating plant identified as a ‘power station’ in a generation licence issued by the Commission in accordance with the ERA, which is connected to a regulated network, and excludes minor power stations as specified by the Commission |
| Power system | Means: the Darwin-Katherine power system; Tennant Creek power system; and Alice Springs power system. |
| Premises | The address for which a small customer has a contract for the supply of electricity |
| Re-connection | Re-installation of a connection where there is an existing connection at the premises |
| Remote monitoring equipment | Includes faulted circuit indicators (or equivalent) and related equipment commonly used to monitor network outages |
| Reporting period | The last completed financial year , that is, 1 July to 30 June, or a period as otherwise stated within the Code |
| Residential customer | A customer who purchases electricity principally for its own personal, household or domestic use at premises |
| Responsibility statement | A statement in the form of the template set out in Schedule 6, completed, signed, and dated by the Chief Executive Officer or a delegate of the Chief Executive Officer of an electricity entity |
| Retail entity/entities | An electricity entity that provides retail services |
| Retail services | The services provided by an electricity entity that is licensed to trade in electricity and to retail electricity to customers under the ERA |
| Regulatory control period | Has the meaning given under the ENTPA Act |
| Regulated network | An electricity network prescribed by the Minister by notice in the Gazette as an electricity network covered by the Network Access Code in accordance with the ENTPA Act. For the avoidance of doubt, the regulated network ceases at the electrical installation |
| Region | Includes the: Darwin region; Katherine region; Tennant Creek region; and Alice Springs region. |
| SAIDI (System Average Interruption Duration Index) | The sum of the duration of each sustained unplanned network interruption (in minutes) divided by the total number of distribution customers. SAIDI excludes momentary interruptions of one minute or less |
| SAIDI threshold | A multiple of a distribution network feeder’s target standard as directed by the Commission |
| SAIFI (System Average Interruption Frequency Index) | The total number of unplanned network interruptions divided by the total number of distribution customers. SAIFI excludes momentary interruptions of one minute or less. SAIFI is expressed per 0.01 interruptions |
| Selling | Has the meaning given in the ERA |
| Small customer | In relation to a premises that is connected or proposed to be connected to a regulated network, refers to a customer that is taking or is likely to take less than 160 megawatt hours of electricity in a financial year at that premises |
| Supply | Has the meaning given in the ERA |
| System Controller | Has the meaning given under the ERA |
| System Control Technical Code | The code of that name authorised by the Commission |
| Target standard | A standard of performance that is approved by the Commission from time to time in accordance with clause 3 of this Code |
| Transmission assets | Include: transmission lines; switchgear (circuit breakers and isolators) on transmission lines and transformers which form part of the transmission network; transformers which transform voltage between transmission levels; any dynamic reactive plant and associated switchgear and transformation regardless of voltage level; all existing static reactive plant and associated switchgear; and all system controls required for monitoring and control of the integrated transmission system – this includes remote monitoring and associated communications, load shedding and special control schemes and voltage regulating plan required for operation of the system |
| Transmission customer | A customer having a connection point with the transmission network |
| Transmission network | That part of the regulated network that operates at a high voltage level suitable for the transmission network to convey electricity from the relevant entry point to the bulk supply point and to supply transmission customers, and includes the bulk supply points, transmission assets and transmission network connection assets owned or operated by the relevant network entity |
| Transmission network connection assets | Assets used to supply transmission customers at the interface between the transmission customer's facility and the transmission network (including transmission lines connecting a generation unit/facility to transmission assets) |
| Transformer | A facility or device that reduces or increases the voltage of alternating current |
| Unadjusted | Includes all network outages that would normally be excluded if adjusted |
| Unit derating for a generating unit | When the generating unit is partially operational and its output is the unit derating value |
| Unit derating value for a generating unit | The ‘unit derating’ expressed in MWs and calculated in accordance with US Institute of Electrical and Electronics Engineers (IEEE) Standard 762-2006 |
| Unplanned network interruption’ | A network interruption that is not a planned network interruption |
| Unplanned outage | A generation outage that is not a planned outage |
| Written | Any electronic communication capable of being reduced to paper form by being printed |

‘